| 10 | 1 | PRIOCAB Typ90 Under-table pull-out units for safe storage of lithium-ion batteries Type90 flame-resistant under-table safety cabinet with a front panel. Suitable for the approved storage of lithium-ion batteries. The under-table pull-out cabinets feature extraordinary stability and durability. The basic material is highly compacted, non-absorbent, and doesn‘t represent a thermal load. The cabinets can be aligned by default with height-adjustable feet. Function Fire resistance 90 minutes Suitable for the storage of lithium-ion batteries Construction & Equipment Housing with high mechanical resistance Housing made of noncombustible material including the decorative surface Self-closing air supply and ventilation openings in case of fire Smooth and easy-moving drawer with hold-open function, self-closing in case of fire Integrated pipe and cable penetration Air supply and ventilation openings at the rear Lockable with cylinder lock, including lock status indicator The cabinet is equipped with castors for easy movement on site Material & Surface Standard surface CP laminate is chemically highly stable and moisture-resitant Non-combustible board with surface coating, classification A2 – s1, d0 Surface light grey, similar to RAL 7035 Options Other sizes on request Individual colour design Version Under-table safety cabinet with one pull-out Element-External dimension (H x B x T) in mm: ………………………………….. Surface: ………………………………….. Options: ………………………………….. Typ: PRIOCAB-Li Typ90 – Under-table pull-out units for safe storage of lithium-ion batteries Fabrikat: PRIORIT AG www.priorit.de Tel.: +49 6181 / 3640 0 Fax : +49 6181 / 3640 230 |  |  |
| --- | --- | --- | --- | --- |