| 10 | 1 | PRIOCAB Typ30 Under-table safety cabinets according to DIN EN 14470-1 Fire resistant under table type 30 safety cabinet for proper storage of flammable liquids and solid materials in work areas. Type 30 safety cabinets, tested and certified in accordance with EN 14470-1, offer a fire resistance rating of 30 minutes, and are GS (geprüfte Sicherheit - tested safety) certified. The single-layer structure of the body and door give the cabinet a high level of mechanical strength. The high-quality interior and exterior surfaces are easy to clean. Function Fire resistance 30 minutes GS Certificates Safety cabinet Typ30 according to EN 14470-1 Suitable for the storage of inflammable fluids Construction & Equipment Under-table safety cabinet with high-quality surface inside and outside Single-layer wall construction Double-leaf version (width 1100 mm) In case of fire, self-closing ventilation openings at the rear, connections DN 100 mm Door closer with integrated hold-open system and thermocouples for automatic door closure in the event of fire Different equipment variants Fittings adjustable in 32 mm hole spacing Floor pan with perforated plate insert for use as a fourth storage level Grounded tank bottom, tilt resistant with a central hole for systematic removal of leakage Material & Surface Homogeneous building material, single-layer construction Standard surface CP laminate Surface light grey, similar to RAL 7035 Easy to clean Options Doors and entire body in alternative RAL colours / surfaces, on request Tank bottoms, max. load 75 kg Fully extendable shelf, max. load 75 kg Load increase to 150 kg Floor pan incl. perforated plate insert Perforated plate insert Fine (pre)filter for EBEL:VENT-EN-U (replacement) Replacement active charcoal filter for EBEL:VENT-EN-U Recirculated air attachment, ready to plug in Element-External dimension (H x B x T) in mm: ………………………………….. Surface: ………………………………….. Weight: ………………………………….. Options: ………………………………….. Typ: PRIOCAB Typ30 Under-table safety cabinets Fabrikat: PRIORIT AG www.priorit.de Tel.: 06181 / 3640 0 Fax : 06181 / 3640 230 |  |  |
| --- | --- | --- | --- | --- |