| 10 | 1 | PRIODIS Basic Secure monitor housing The enclosure consists of non-combustible fire protection panels as well as safety glazing and completely encloses the monitors. The outbreak of fire or generation of smoke is prevented, as no oxygen afterflow is not possible. A natural fire test provided evidence of this. Function Tested fire protection Natural fire test Smoke protection Encapsulation of fire load Protection against vandalism Construction Housing made of non-combustible fire protection panels with easy-care surface Brilliant, tempered safety glass Cable entry with fire protection seal Simple installation Horizontal and vertical installation possible Material characteristic Non-combustible board with surface coating, classification A2 - s1, d0 Standard colour white - similar to RAL 9016 Scope of delivery Housing kit with safety glass Mounting bracket with mounting material Installation template Installation Instruction Options Standardised colours; brushed aluminium decor; primer foil Special decors / special colours Rear wall Element-External dimension (H x B x T) in mm: ………………………………….. Surface: ………………………………….. Weight: ………………………………….. Wall type: ………………………………….. Options: ………………………………….. ………………………………….. Typ: PRIODIS Fabrikat: PRIORIT AG www.priorit.de Tel.: +49 6181 3640-0 Fax : +49 6181 3640-230 |  |  |
| --- | --- | --- | --- | --- |