| 10 | 1 | PRIOELEC EUL – 90 Minutes Fireproof Distribution Cubicle Electro fire protection cabinet for wall mounting for the enclosure of electrical and electronic equipment. The cabinet is suitable for the separation of electrical distributors in rescue routes. The cabinet is smoke-tight and provides 90 minutes fire resistance. Function Fire resistance of 90 min, fire-resistant Classification: suitable for fire load insulation of 30 minutes Construction Empty case without back wall with high mechanical and chemical resistance Door can be unhinged Door stop changeable on site, DIN right/left Door closes flush with body, opening angle ca. 180° 2-point door locking with swing lever and double-bit cylinder Circumferential fire seals automatically expand in the event of a fire Cable entries top + bottom Cable cooling duct top + bottom, 300 mm high Material characteristic Non-combustible board with surface coating, classification A2 – s1, d0 Standard CPL surface Colour light grey, similar to RAL 7035, edges and bevels in different colour Options Standardised colours - white, similar to RAL 9016; decor brushed aluminium; primer foil Special decors / special colours Element-External dimension (H x B x T) in mm: ………………………………….. Surface: ………………………………….. Weight: ………………………………….. Door hinge (DIN L / DIN R): ………………………………….. Panel height: ………………………………….. Panel width: ………………………………….. Unit space: ………………………………….. Options: ………………………………….. Typ: PRIOELEC EUL90 Fabrikat: PRIORIT AG www.priorit.de Tel.: +49 6181 3640-0 Fax : +49 6181 3640-210 |  |  |
| --- | --- | --- | --- | --- |